City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Big Tom’s Barbershop

1) What was the previous permitted use for this property?

Mixed use (commercial and residential)

2) What is the proposed use for the property?

Mixed use (commercial and residential)

3) How is green stormwater mitigation being integrated into the proposed project?

The proposed earth disturbance, in relation to the building restoration project, is less than 10,000 square feet which is the exemption threshold for preparation of a stormwater management site plan and implementation of related stormwater management mitigation (per City Zoning Code 1303.01 a.)

4) Will the development result in a net positive or net negative change in stormwater flow?

The project will result in net increase of 0.8 cfs stormwater flow due to increase in impervious area(parking and patio) in empty lot next to the existing building.